Packaging Protocol

Use Wide Bore Tips!

# Thaw the appropriate number of packaging extracts on ice

(For every 2 DNAs to be packaged thaw one FT and one S)

When thawed immediately add the FT to the S tube, mix by pipetting being

careful not to introduce bubbles

Remove half the packaging to another tube (95 l)

Add 10-15 l (0.5 g) DNA to each of the 95 l packaging extract mixtures

and mix by pipetting (again avoiding the introduction of bubbles)

Incubate the reactions at 32C (waterbath) for 90 minutes

# Again thaw the appropriate number of packaging extracts on ice and when

thawed immediately add the FT to the S tube, mix by pipetting being

# careful not to introduce bubbles

# Add 95 l packaging extract mixture to each packaging reaction and return

# to 32C for an additional 90 minutes

Add 600-700 l lambda buffer to each reaction, vortex for 5-10 seconds, and immediately set on ice

Store packaged reactions at 4C and use no later than one week from the day

of packaging (highest packaging efficiency obtained when reactions

are plated the same day as or one day following packaging)

## Phage Lambda Buffer

# Tris 1 M at pH 7.2		6 ml

MgSO47H2O		2.46 g

### Gelatin			0.05 g

Distilled H2O		1 L

Dissolve with heat, mix well, autoclave