Scope

This procedure is applicable to the following departments:

- Yale Medicine Multispecialty Clinic, Guilford - Physicians

- Yale Medicine Multispecialty Clinic, Fairfield- Physicians

Procedure Purpose

All Yale Medicine (YM) Physicians, who are fluoroscopy credentialed, will be monitored in accordance with CT DEEP regulations1. A radiation dosimeter (‘badge’) will be provided by the Yale University Radiation Safety Office

Definitions

YM

Yale Medicine

CT DEEP

Connecticut Department of Energy and Environmental Protection

ALARA

As Low As Reasonably Achievable. This is an acronym that emphasizes minimizing radiation exposures to a reasonable level with the use of shielding, minimizing exposure time, and maximizing distance from the source of radiation.

EHS

Environmental Health and Safety

Procedure Sections

Yale Medicine

YM will designate a responsible person (point of contact) who will ensure the timely receipt, distribution, and collection of radiation dosimeters at the site.

The YM dosimetry point of contact will be responsible for identifying new physicians who may require monitoring and directing them to the Yale University Radiation Safety Office for dosimetry enrollment applications.

YM is responsible for ensuring that occupationally monitoring physicians are fully compliant with the Yale University Radiation Safety Committee ALARA Program2.

Radiation Safety Office

EHS Radiation Safety is responsible for providing occupational monitoring devices to the clinic. As well as collecting return shipments from the site and sending to the vendor lab for final processing.

EHS Radiation Safety will support all YM X-ray facilities in accordance with the University RSC ALARA Program2.

Special Situations & Exceptions

Exceptions to this procedure must be documented using the YSM Policy/ Procedure/ Guideline Exception Request - Form and presented richard.martinello@yale.edu.

Roles & Responsibilities

Yale Medicine

- Chiefly responsible for the proper/timely receipt, use, and return, of radiation dosimeters of all required staff and ancillary personnel.

Radiation Safety Office

- Proper distribution of radiation dosimeters between applicable sites and the radiation dosimetry vendor.

- Monitoring radiation dosimeter results and communicating any exposures measurements of concern.

Contact Information

- Richard Martinello, YM Chief Medical Officer - richard.martinello@yale.edu

- Neil Whiteside, Radiation Safety Officer - neil.whiteside@yale.edu

Related Information

Diagnostic Imaging Shielding - Procedure

Quality Control of X-Ray Equipment – Procedure

Fluoroscopy Credentialing Program – Procedure

Employee X-Ray Safety - Procedures

Patient X-Ray Safety – Procedure

X-Ray Protective Equipment – Procedure

References

Yale University Radiation Safety Committee – ALARA Program

Title 19 – Public Health and Safety, Section 19-25d-6,(c)(3), Special requirements for mobile diagnostic radiographic equipment

Version History

- 05/28/2025 – Updated scope to include new locations, etc.

- 03/31/2023 – New document, no prior history

Keywords

X-Ray, Monitor, Dosimetry, Badge, Radiation Badge, Radiation, Exposure,

Responsible Official: 		CEO, Yale Medicine

Document Administrator: 	Parami Hettiarachchi

Date of Origin: 		03/31/2023

Approval Date:			05/28/2025

The official version of this information will only be maintained in an on-line web format.  Any and all printed copies of this material are dated as of the print date.  Please make certain to review the material on-line prior to placing reliance on a dated printed version.