Scope

This procedure is applicable to the following departments:

- Yale Medicine Multispecialty Clinic, Guilford - Physicians

- Yale Medicine Multispecialty Clinic, Fairfield- Physicians

Procedure Purpose

Precautions will be taken to avoid unnecessary radiation exposure to patients. This facility will adhere to current consensus of the scientific community1,2 within constraints of jurisdictional regulatory requirements. Patient and gonadal shielding is no longer recommended as a standard practice3; All procedures must be performed by a fluoroscopy credentialed physician.

Definitions

AEC

Automatic Exposure Control

ABC

Automatic Brightness Control

AEC

American College of Radiology

mA

Milli-ampere – a standard unit of electrical current.

Procedure Sections

Physicians/Operators

Question female patients of childbearing age regarding the possibility of pregnancy or perform a pregnancy test if the procedure may involve a higher risk of exposure to the uterus to someone who would have the possibility of being pregnant (such as no period in the last 28 days per guidance from the American College of Radiology (ACR)). If a woman is pregnant, the continuation of a radiation procedure will be at the discretion of the referring physician in consultation with the procedure physician and the informed consent of the patient.

Demonstrate collimation on all images and limit to the area of interest.

Select the imaging X-ray technique factors to achieve adequate image quality at a minimum patient radiation dose. Use automatic exposure systems (e.g., AEC, ABS, auto-mA) where feasible.

Document fluoroscopic exposure indices in the patient record.

Medical Physicist / RSO

Respond to requests for patient radiation dose estimates as needed.

Special Situations & Exceptions

Exceptions to this procedure must be documented using the YSM Policy/ Procedure/ Guideline Exception Request - Form and presented richard.martinello@yale.edu.

Roles & Responsibilities

Physicians/ Operators

- Ensures the safety of all patients entering the fluoroscopy room in accordance with the protocols outlined in this procedure.

Contact Information

- Richard Martinello, YM Chief Medical Officer - richard.martinello@yale.edu

- Neil Whiteside, Radiation Safety Officer - neil.whiteside@yale.edu

Related Information

Diagnostic Imaging Shielding - Procedure

Quality Control of X-Ray Equipment – Procedure

Fluoroscopy Credentialing Program – Procedure

Employee X-Ray Safety - Procedures

X-Ray Protective Equipment – Procedure

Occupational Monitoring Program – Procedure

References

ACR Patient Gonadal and Fetal Shielding Education Module; https://www.acr.org/Lifelong-Learning-and-CME/Learning-Activities/Gonadal-and-Fetal-Shielding

AAPM Communicating Advances in Radiation Education for Shielding (CARES); https://w3.aapm.org/cares/

CT DEEP Notice of Interest

Version History

- 05/28/2025 – Updated scope to include new locations, etc.

- 03/31/2023 – New document, no prior history

Keywords

X-Ray, Safety, Patient, Shielding, Pregnancy

Responsible Official: 		CEO, Yale Medicine

Document Administrator: 	Michelle Shaw (Compliance Investigation Analyst)

Date of Origin: 		03/31/2023

Approval Date:			05/28/2025

The official version of this information will only be maintained in an on-line web format.  Any and all printed copies of this material are dated as of the print date.  Please make certain to review the material on-line prior to placing reliance on a dated printed version.